## Slide 1: SNO+ Neck Analysis
Yuan (Nelson) Zhou DATTEE

## Slide 2: SNO+ Detector
Solar Neutrino Detections
Aprox. 10,000 Photo Multiplier Tubes (PMTs)
Acrylic Vessel (6m radius)
PMT Support Structure, PSUP (8.5m radius)
Neck (14.72m)
4 Neck PMTs
Linear Alkyl Benzene (LAB)

## Slide 4: Motivation
Reconstruction of Po-210 and C14 events should be uniform, 60-1800nhits
Extra concentration at center for Neck hits > 0 (Existing Neck Cut Filtering Plot)
Mis-reconstruction of events in the middle of detector in simulation
Accounting for unaccounted neck events and pile up events

## Slide 5: List of Potential Sources of Problem
False positive (Events WITHIN AV vessel firing Neck PMT)
Backgrounds inside the Neck (Polonium-210)
Neck PMT noise coincident with scintillator background events

## Slide 6: Magnitude of Neck Events
465,951 events (in one run) out of total events are registered as neck events (necknhit > 0)
129.4Hz of neck events

## Slide 8: Geometric Method
Probability of seeing a center event being registered as a neck event
Neck Radius Region (0.6855m radius)
Total entries: 12950
Entries with neck hits: 9465
73.1% entries have neck hits

## Slide 9: Geometric Method
Two step probabilities:
Area of Neck opening over area of PSUP
Area of 4 Neck PMTs over are of Neck opening (Assume reflection without loss)
Shows probability of 0.026%
Apply to detector trigger rate(40Hz) for center events -> 0.0104Hz
Can be applied as an uncertainty to neck events

## Slide 11: Neck Acrylic Polonium-210
70 to 200 nhits region 5.6 to 6 meters
194,647 Events in that region
Graph from Ryan Bayes (Document 8399-v1)

## Slide 12: Normalizing
Surface Area and Run Time (1 hour)
0.1195 bq/m^2
Previous: 2.1 bq/m^2, Nhits from 60 -150, 5.5m to 6m
(From Acrylic vessel Po210 scintillator events analysis, ShengZhao Yu, 2021)

## Slide 13: Neck Acrylic Rate
Applied 0.1195 bq/m^2 to the surface area of the side wall of the neck
Returned rate of 4.1176 bq

## Slide 15: Neck PMTs’ Coincident Pile Ups
One or more Neck PMTs Firing on its own, at the same time with C14 or Polonium-210 event
Detector collects data in a period of 300ns window following by a dead time
Generated random time stamps within a second, see how many times one or more Neck PMT event occurs in the same window with an event

## Slide 16: Coincident Result
Probability of 1.005e-4 %
Apply to overall detector trigger rate of 2000Hz: 2.01e-3Hz

## Slide 18: Next Step
Unshielded area of 42in of scintillator above PSUP
Events due to gamma exposure
Surface areas exposed is 7.547m2, in a cylindrical shape
UG Potassium-40 alone has a count density of 10e4 Counts/s∗m2 when applied to the area, 75,470Hz of events are generated.

## Slide 19: BIG THANK YOU…
Alex Wright and Christine Kraus
Ryan Bayes