## Slide 1: GEANT4 Lucas Cell Simulation
By Justin Suys
Supervisors : Lina Anselmo, Nasim Fatemighomi

## Slide 2: Motivation
222Rn and its progeny are a problematic source of background for SNO+ and for the other experiments at SNOLAB
Image provided by SNO
2
As part of SNOLAB’s 222Rn testing program, we measure the concentrations of 222Rn for these experiments through Radon Assays.

## Slide 3: Motivation
3
Underground Radon Board

## Slide 4: Motivation
4
DEAP Radon Board

## Slide 5: Motivation
5
Water Assay System

## Slide 6: Motivation
Surface Radon Board
6

## Slide 7: What is a Lucas Cell?
Scintillation counter sensitive to alpha particles made at SNOLAB
Individual 222Rn alpha decays can be counted with 2-inch photomultiplier tubes (PMTs) with known quantum efficiencies
Used to quantify the amount of 222Rn for the four systems presented
7

## Slide 8: Data Acquisition System (DAQ)
Power supply unit (Above), PMT channels (Below)
6

## Slide 9: Measured Alpha Decays
1
2
3
4
Image provided by IAEA
1. 222Rn decay -> Measurement
2. 218Po decay -> Measurement Verification
3. 214Po decay -> Measurement Verification
4. 210Po decay -> Background
8
Notes: To model the time before the next decay, for each isotope, 4 concurrent Poissonian random variables were sampled based on their mean activity. The half lives of the intermediate beta emitters are included in the calculations to ensure realistic decay times. (Remove this)

## Slide 10: Why simulate Lucas Cells? 𝜂T =
PMT Quantum Efficiency(𝜂QE)
(Photoelectrons per photon)
Lucas Cell Efficiency(𝜂LC)
(Photons per alpha decay)
Threshold/DAQ Efficiency(𝜂DAQ)
(Detections per photoelectron)
Radon in Lucas Cell
Detected Radon
9
Number of detected Radon Decays
Total Number of Radon Decays

## Slide 11: Why simulate Lucas Cells? 𝜂T = 𝜂LC𝜂QE𝜂DAQ 𝜂T = 62±3% Source : Measurement of 222Rn dissolved in water at the Sudbury Neutrino Observatory(2004) [1] 𝜂T = 74±7% Source : 222Rn emanation into vacuum(1993) [3]
The focus of my presentation is understanding this counting efficiency
10

## Slide 12: Why simulate Lucas Cells? To give us a better understanding of the underlying processes at play during radon assays at SNOLAB
11

## Slide 13: Lucas Cell Geometry Acrylic (PMMA) ZnS(Ag) scintillator Radon Sample (Inside hemisphere)
FreeCAD GDML Workbench - Keith Sloan
12
Notes: Made the model using FreeCad’s GDML workbench add-on
The shape is composed of cylinders and spheres. With cuts we can make a more complicated geometry.
Acrylic or PMMA makes up the body and photomultiplier tube window of the Lucas Cell. The spherical silver doped zinc sulfide makes up the scintillator volume. The radon sample is contained within the cavity.

## Slide 14: Lucas Cell Geometry
13
Notes: Made the model using FreeCad’s GDML workbench add-on
The shape is composed of cylinders and spheres. With cuts we can make a more complicated geometry.
Acrylic or PMMA makes up the body and photomultiplier tube window of the Lucas Cell. The spherical silver doped zinc sulfide makes up the scintillator volume. The radon sample is contained within the cavity.

## Slide 15
14

## Slide 16
15
Notes: Introduce the graph
Present axes
Show the graph
Talk about total internal reflection between volumes
Highlight asymmetry between quadrants

## Slide 17
16
Notes: Introduce the graph
Present axes
Show the graph
Talk about the number of photons in comparison after quantum efficiency.
Give the efficiency ()

## Slide 18
Tape : Partial Coverage
Tape : Full Coverage
Cloth : Partial Coverage
Photon Distribution Testing
Expectation: ~90% less counts
Result: No reduction
Result: No counts
Expectation: No counts
Result: No reduction
Expectation: ~90% less counts
17
Notes: Introduce the graph
Present axes
Show the graph
Talk about the number of photons in comparison after quantum efficiency.
Give the efficiency ()

## Slide 19: Total Internal Reflection
𝛼 Particle
Isotropic Scintillation
Thin ZnS(Ag) Layer
Vacuum
n = 1
PMMA
n = 1.5
ZnS(Ag)
n = 2.356
18
Notes: Introduce title
Introduce axes/units (charge = photoelectrons), number of radon decays
Talk about low charge spike, and scintillation spike
Compare peak width with previous slide 250 vs 650 000

## Slide 20: Total Internal Reflection
𝛼 Particle
Isotropic Scintillation
Vacuum
n = 1
PMMA
n = 1.5
ZnS(Ag)
n = 2.356
Thin ZnS(Ag) Layer
19
Notes: Introduce title
Introduce axes/units (charge = photoelectrons), number of radon decays
Talk about low charge spike, and scintillation spike
Compare peak width with previous slide 250 vs 650 000

## Slide 21
20
Notes: Introduce title
Introduce axes/units
Talk about low photon count spike, and scintillation spike

## Slide 22: Integrated PMT Charge Distribution Energy (A.U.) Number of Decays
21
Notes: Introduce title
Introduce axes/units (charge = photoelectrons), number of radon decays
Talk about low charge spike, and scintillation spike
Compare peak width with previous slide 250 vs 650 000

## Slide 23: GEANT4 Simulation Milestones
Stochastic Decay Timing Model implemented for the relevant isotopes
GDML functionality for different Lucas Cell dimensions
Value for 𝜂QE,Rn222 =
GUI to facilitate graphing and knowledge transfer
22
2848542
3678865
= 0.7743 photoelectrons/photon

## Slide 24: Future Work
Implementing the ZnS(Ag) surface roughness***
Transfer simulation to computer cluster
Measuring the spatial distribution of 222Rn daughters
Enhancing GUI and uploading code to Github
23

## Slide 25: Thank you!
Nasim Fatemighomi Keegan Paleshi
Mark Ward Ryan Bayes
Lina Anselmo
24

## Slide 26
26
Smooth Scintillator Surface
Rough Scintillator Surface
Not Realistic
More Realistic

## Slide 27: Backup - QE calculation
25
𝜂QE,Rn222 =
2848542 photoelectrons
3678865 photons
= 0.7743 photoelectrons/photon
Positional Frequency of Optical Photons on PMT surface
Total Number of Optical Photons : 3678865
Positional Frequency of Optical Photons Yielding Photoelectrons
Total Number of Optical Photons : 2848542

## Slide 28: References
[1] Blevis, I., Boger, J., Bonvin, E., Cleveland, B. T., Dai, X., Dalnoki-Veress, F., Doucas, G., Farine, J., Fergani, H., Grant, D., Hahn, R. L., Hamer, A. S., Hargrove, C. K., Heron, H., Jagam, P., Jelley, N. A., Jillings, C., Knox, A. B., Lee, H. W., … Zhu, X. (2004). Measurement of 222 Rn dissolved in water at the Sudbury Neutrino Observatory. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, 517(1–3), 139–153. https://doi.org/10.1016/j.nima.2003.10.103
[2] IAEA. (2010). Analytical Methodology for the Determination of Radium Isotopes in Environmental Samples. https://www-pub.iaea.org/MTCD/publications/PDF/IAEA-AQ-19_web.pdf
[3] Liu, M., Lee, H. W., & McDonald, A. B. (1993). 222rn emanation into vacuum. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, 329(1–2), 291–298. https://doi.org/10.1016/0168-9002(93)90948-h
20