## Slide 1: HVeV Run @ CUTE
Emilia Topp-Johnson

## Slide 2: CUTE Cryogenic Underground TEst

## Slide 3: Cryogenic Particle Detector
Particle interacting with a target material
  Resulting change in temperature
  In the case of HVeV, Silicon crystals
Sensors
  Aluminum/Tungsten superconducting films
Holder
  Copper (good thermal conductor)
Cooled to very low temperatures
  ~12 mK
  Lowers thermal noise

## Slide 4: HVeV Detectors
Particle interacts with crystal
Deposits energy into crystal lattice
Phonons propagate through detectors
High voltage application = apply the field across the crystal
Accelerates the charge carriers, which helps with low energy
Neganov-Trofimov-Luke gain

## Slide 5: HVeV CUTE Run Objectives
Low resolution (low energy detection)
LED calibration
Low energy excess study
Eventually find dark matter

## Slide 6: Low Energy Excess
Events measured in low energy spectrum
Number of events highly exceeds background predictions
Variation in signals across experiments = not likely to be dark matter

## Slide 7: NOISE

## Slide 8: Noise Reduction

## Slide 9: LED: Cable Synchronizing

## Slide 10: LED Calibration

## Slide 11: Conclusions
HVeV detector is running and taking data
HV cable was a success - apply high voltage without introduction of extra noise
Calibrated detectors successfully with LEDs
Detector resolution of 0.65 eV!

## Slide 12: Thank You!