## Slide 1: DEAP-3600 Upgrades, Liquid Level Estimation, and Automation
Rory Macdonald (he/him)
Queen's University

## Slide 2: Hi, I'm Rory
Third year in computing and physics at Queen's
Worked at SNOLAB this summer
Was part of the DEAP-3600 dark matter experiment
Spent ~300 hours underground
1

## Slide 3: Experiments have a lot of parts.
Instrumentation
Analysis
Software
2

## Slide 4: Underground Work
Installing new flow guides onto the neck
Installing the neck onto the detector
Commissioning the argon purification systems
Cleaning components for installation
Monitoring systems
General tasks and maintenance
  Organization
  Pump maintenance
3

## Slide 5
Deployment Canister
4

## Slide 6: Glovebox
5

## Slide 7: Flow guide Install
6

## Slide 8: Acrylic Vessel (AV)
Brought to you by the baby monitor inside the glovebox (GB)
7

## Slide 9: Lowering Neck / Flow Guides
8

## Slide 10: Other Work
Diaphragm Pumps
Leak Checking Pump/Purge Manifold
9

## Slide 11: I want to see inside!
Apart from the glovebox, there is a distinct lack of windows
With all the shielding, I have never even seen the steel shell
Cannot see inside the AV
We use photomultiplier tubes (PMTs), so we don’t want extra light
10

## Slide 12: So...We Can't Directly See our Liquid Argon
11

## Slide 13: Liquid Level Estimation
12
Cannot directly observe the liquid level
Cannot use your hand, a ruler, or a camera
There is still a way though!

## Slide 14: Load Cells for Mass Determination
13
Load cells (scales) on the top and bottom
Directly measures the weight of the detector
From this you can find out the mass of liquid added
Unfortunately, not accurate enough

## Slide 15
Mass Flow Controller for Mass Determination
As part of our process systems, we can track our argon flow into the detector
Unfortunately this is also not as accurate as we would like
14

## Slide 16: Using PMT Rates for Liquid Level Estimation
The basic idea is that PMTs below the liquid level (LL) will detect more photons
  Scintillation rate
  Light Yield
  Total internal reflection
15

## Slide 17: Divide PMTs into Rows
16

## Slide 18: Plotting PMT Rates
Y-axis is the mean rate for a PMT in a given row
X-axis is row height
We can create a fit function to estimate the liquid level
Plotting using ~2000 events
17

## Slide 19: Fitting:
18

## Slide 20: Started With too Much Noise
19
These fluctuations stayed over thousands/millions of events
Something inherent to the system
Not something my physics predicts

## Slide 21: Accounting for PMT Efficiencies:
PMT efficiencies were not accounted for in the initial LL estimations, causing noticeable fluctuations
Before Efficiencies Applied
After Efficiencies Applied
20

## Slide 22: Are We Close?
Yes. Probably.
Similar result with different methods
The uncertainties still need to be evaluated
21

## Slide 23: Thank you. Questions?
22

## Slide 24: Backup Slides
23

## Slide 25: Automatic Uploads
deapdocs@snolab.ca
Sharepoint
Team Channel
Our Printer
Power Automate
Python
Shift Report
24

## Slide 26
Current Fitting Function
For PMTs Above LL:
Rate = GArRate+GArCorrection*(LGHeight-liquidLevel)
For PMTs Below LL:
Rate = (GArRate+LArRate)+(LArCorrection*LGHeight)
Partially Submerged:
Rate = GArRate+(LArRate*RatioLGAreaImmerged)
Parameters:
Liquid level
Avg GAr Rate
Avg LAr Rate
Top Correction
Bottom Correction
Input:
Row Height (-846 to 846)
Calculated based on the height (differs per row)
Constants:
Geometries
Calculated:
RatioLGAreaImmerged
25