## Slide 1: Characterizing Acoustic Coupling in the Detector: FFT Analysis and Sensor Development
Supervisor: Pierre Gorel and Guillaume Giroux
April 17, 2025

## Slide 2: NEWS-G searches for low-mass dark matter using a spherical gas detector
2
Sphere filled with low mass noble gas (H, He, Ne,…)
WIMPS
Source: NASA, NEWS-G Collaboration

## Slide 3: NEWS-G uses central anode to create radial electric field
Anode
Copper Sphere ~ 1.4 m
Multi-Anode Sensor in middle
High Voltage
Radial Electric Field
3

## Slide 4: Avalanche near the anode creates ion drift induces the detectable signal
Source: NEWS-G Collaboration
4
Notes: Incoming particle ionizes the gas – Primary Ionization
e- drift towards the anode at the center along the 𝐸 field lines
Avalanche occurs – Secondary Ionization
Signal is produced and measured

## Slide 5: Multiball sensor "Achinos"
South 6
North 5
Multi Anode sensor
  Small anode – High gain
  Large structure – High drift field
2 Channels
  North (5 balls), South (6 balls)
  North/South Comparison
5
Notes: High gain, capable to go up to single electron detection
Strong 𝐸 field to collect primary e- far from the center

## Slide 6: Fast Fourier Transform (FFT) Analysis
Identify dominant frequencies present in the signal
Study the effect overtime with the lab activity and different conditions
  Change in voltage
6
High-Pass Filtered FFT (North)
Magnitude
Frequency (MHz)

## Slide 7: FFT Analysis : How is signal Characterized?
Signal characterized each channel based on:
  Positive Peak (Event)
  No Peak (raw signal without event)
Positive Peak South channel​​
7

## Slide 8: FFT Analysis : How is signal Characterized?
Signal characterized each channel based on:
  Positive Peak (Event)
  No Peak (raw signal without event)
8

## Slide 9: FFT Analysis : Average FFT without Peak (event)
Region of interests
High frequency noise: ~ > 10KHz
Effects Trigger rate
Forces to Increase Threshold
9

## Slide 10: FFT Analysis : Average FFT without Peak (event)
Region of interests
Low frequency noise: ~10 Hz – 1 kHz
Sensitive to:
  Mechanical vibrations
  Acoustic coupling
Effects baseline
10

## Slide 11: Acoustic Noise and Microphonic Effect
11

## Slide 12: FFT shows voltage dependence in the South channel
12

## Slide 13: FFT shows no voltage dependence in the North channel
13

## Slide 14: MEMS sensor allows us to record noise in the Cube Hall
14

## Slide 15: FFT and spectrogram reveals dominant low frequency noise
14

## Slide 16: MIDAS: A way to collect the data
sensor data through pi
collected by MIDAS DAQ software
MIDAS monitor and control sensor data
15

## Slide 17: Sensor data is captured, buffered, and saved by the MIDAS frontend
16

## Slide 18: The current setup captures only one second of data and fails to record a full waveform
17
Time (sec)
Magnitude

## Slide 19: Future Work
Compare FFT to lab activity
Finish developing MIDAS frontend
Attach sensor to detector
Develop shielding
18

## Slide 20: Thank you!