## Slide 1: Keeping it Cool: The SuperCDMS Chilled Water System
Zainab Ali

## Slide 2: Super Cryogenic Dark Matter Search
Direct detection with Silicon and Germanium Crystal Detectors
Operates at 15 mK
Looking for ‘light’ dark matter in 0.5-5 GeV/c2 range

## Slide 3: Experiment Setup

## Slide 4: Experiment Setup

## Slide 5: Detectors
Germanium (1.39kg) and Silicon (0.61kg)
4 Towers of 6 Detectors
12 iZip (Interleave Z-sensitive Ionization and Phonon) detectors
12 HV (High Voltage) detectors
Measure Heat and Ionization

## Slide 6: SuperCDMS Cryogenics
Dilution fridge cools detectors
4 Stages of Cooling
Starts at 60K and cools to ~10mK
Low temperature achieved using mixing chamber with He3 and He4

## Slide 7: Physics Goals
Looking for nucleon-coupled dark matter
Mass is 0.5-5 GeV/c2 range
This range allows search for nucleus scattering, electron scattering, and dark photons

## Slide 8: Experiment Status
Currently in Installation and Integration phase
Experiment will be fully built by September
Next step is to cool down and begin commissioning for first science run

## Slide 9: Chilled Water System
Removes heat via SNOLAB water
Cools compressors
Final sensors need to be connected

## Slide 10: Ice Tank Back-up
Charging mode freezes ice in tanks
Discharge mode uses ice to cool water
Currently using MATLAB Simscape Fluids to run simulations

## Slide 11
Etching
Copper
Helped degrease, etch, and passivate copper plates
Packed in nitrogen to ship underground

## Slide 12: Conclusions
SuperCDMS is a cryogenic dark matter detection experiment and will start taking data this year
The experiment focuses on lighter dark matter than other experiments at SNOLAB
I worked on the chilled water system (reading P&IDs, learning about instrumentation/PLC, design HMI, creating simulations, etc.)
I also helped etch/passivate copper

## Slide 13: Thank You!
Supervised by Matt Stukel, Andy Kubik, and Jeter Hall