## Slide 1
QUTEbits: Superconducting qubits @ CUTE
Peter Qin (He/Him)
QUTEBits student
2026/04/17

## Slide 2
QUTEBits introduction

## Slide 3
What is CUTE?
The Cryogenic Underground TEst facility (CUTE) at SNOLAB is a platform for testing and operating cryogenic devices
Originally for testing SuperCDMS detectors, now a SNOLAB user facility
Currently hosting QUTEbits

## Slide 4
CUTE Facility Diagram

## Slide 5
QUTEBits – introduction
CUTEBits collaboration
  SNOLAB
  Chalmers University of Technology
  Institute for Quantum Computing at University of Waterloo
  University of Toronto
Goal
  Study impact of radioactive background on qubit decoherence

## Slide 6
QUTEBits – background
A qubit is the fundamental unit of quantum information processing
Many platforms for qubits exist (eg. photonic, trapped ion, spin qubits)

## Slide 7
QUTEBits – background
A qubit is the fundamental unit of quantum information processing
Many platforms for qubits exist (eg. photonic, trapped ion, spin qubits)

## Slide 8
QUTEBits – background
QUTEbits uses transmon – qubit implementation using Josephson junctions
Anharmonic LC circuit where qubit is represented by lowest two energy states

## Slide 9
QUTEBits - motivations
Notes: The project currently occupying the experimental volume under the DU is QUTEBits. The project uses superconducting qubits, which are superconducting circuits w/ josephson junctions used as implementation of qubits. Currently a leading implementation with ~100us coherence times

## Slide 10
QUTEBits - motivations
…But quantum computers are not yet as stable or fault-tolerant as classical computers
Notes: The project currently occupying the experimental volume under the DU is QUTEBits. The project uses superconducting qubits, which are superconducting circuits w/ josephson junctions used as implementation of qubits. Currently a leading implementation with ~100us coherence times

## Slide 11
Goal of underground qubit studies
Qubit coherence time has been shown to be negatively affected by radiation
Ionizing radiation can cause simultaneous correlated errors across multiple qubits

## Slide 12
Goal of underground qubit studies
Qubit coherence time has been shown to be negatively affected by radiation
Ionizing radiation can cause simultaneous correlated errors across multiple qubits
~ 1 error per month per 256 Mb RAM

## Slide 13
Goal of underground qubit studies
Qubit coherence time has been shown to be negatively affected by radiation
Ionizing radiation can cause simultaneous correlated errors across multiple qubits
CUTE provides an ideal environment for the study of qubits in a low-radiation environment!

## Slide 14
CUTE and QUTEBits: a match made underground
Access to materials screening through LBL
Vibration isolation
Lead shielding in DR
133Ba, 252Cf calibration sources

## Slide 15
Adapting CUTE for QUTEbits
RF cabling for qubit
New CP, RF plates
Magnetic shielding, qubit sample holder
Control/readout systems

## Slide 16
QUTEBits science

## Slide 17
Qubit stability: T1, T2

## Slide 18
Qubit stability: T1, T2

## Slide 19
Qubit stability: T1, T2
Notes: If we put the qubit in a superposition between ground and excited state, that state is characterized by a relative phase between ground and excited. At early times, knowing this phase precisely allows us to know which state we’ll measure the qubit in. However, the time of evolution of the phase is sensitive to noise in the environment, such that at later times, we know less the phase with less precision, and at late times we have completely lost the phase and the measurement probabilities are completely unknown

## Slide 20
Qubit stability: T1, T2
Notes: A useful analogy is a clock where the precession of the hand is inconsistent. We look at the clock once and know that exactly where the hand is (at the 12 o’clock position)

## Slide 21
Qubit stability: T1, T2
Notes: We expect it to be at the 6 o’clock position if we look at it in 6 hours

## Slide 22
Qubit stability: T1, T2
Notes: But if there is some noise in the environment, we don’t know with the best precision where we will find the clock hand

## Slide 23
Qubit stability: T1, T2
Notes: And waiting much longer than that, say days, we have no sense at all of where the clock hand is

## Slide 24
Qubit stability: T1, T2
Notes: An exponential fit to this envelope describes our loss of knowledge about the phase, is what gives us our T2 time

## Slide 25
Early results from QUTEbits run 1

## Slide 26
Early results from QUTEbits run 1
No Ba-source
Ba-source deployed

## Slide 27
Towards QUTEBits Run 2

## Slide 28
Goals for run 2
Replicate run 1 results
More statistics
Testing higher coherence qubits
Improve noise environment

## Slide 29
Installation work for run 2
New breakout board
RC filter
Thermal sinking
Low-pass filter
IR filter

## Slide 30
New thermometry

## Slide 31
New thermometry

## Slide 32
State of QUTEBits and outlook
Installation of EQSL qubits and new hardware has been completed
Currently preparing for fridge cooldown
Run 1 analysis ongoing
Run 2 data-taking soon!

## Slide 33
Acknowledgements

## Slide 34
Acknowledgements

## Slide 35
Thank you!

## Slide 36
Questions?

## Slide 37
Backup slides

## Slide 38
Josephson Junction

## Slide 39
Josephson Junction Hamiltonian
n is the density of Cooper pairs that have tunneled through the Josephson junction relative to some equilibrium level
φ is the Josephson phase corresponding to the phase difference between the wavefunctions of the two superconductors
Ej is the Josephson energy, which is the energy associated with a tunneling Cooper pair
Ec is the charging energy of a single electron
Manipulating the ratio Ej/Ec enables us to design a system with properties that are useful for qubits

## Slide 40
Josephson Junction Hamiltonian

## Slide 41
Breakdown of the transmon

## Slide 42
Transmon

## Slide 43
Flux bias

## Slide 44
Microwave drive

## Slide 45
Capacitive coupling

## Slide 46
Resonator readout
Purcell filter
Readout resonator

## Slide 47
From Felix Wagner’s SNOLAB seminar: “Excesses in Superconducting Qubits”