## Slide 1: GEANT4: Simulating Our Way Towards the Future
2026/04/17
Liam Hickey
Undergraduate Research Assistant

## Slide 2
Used for experiments at SNOLAB
Our version is ~10 years old (10.2.0)
We need an upgrade!
Why Upgrade SNOLAB's GEANT4 Version?​

## Slide 3
Used for experiments at SNOLAB
Our version is ~10 years old (10.2.0)
We need an upgrade!
Why Upgrade SNOLAB's GEANT4 Version?​

## Slide 4
Used for experiments at SNOLAB
Our version is ~10 years old (10.2.0)
We need an upgrade!
Why Upgrade SNOLAB's GEANT4 Version?​

## Slide 5
Why Upgrade SNOLAB's GEANT4 Version?​

## Slide 6
Why Upgrade SNOLAB's GEANT4 Version?​
by 4/5ths

## Slide 7
HPGe Detector - Principle of Operation
HPGe = High Purity Germanium. Very sensitive semiconductor
Gammas are characteristic
Gamma energy proportional to PIN diode current

## Slide 8
HPGe Detector - Principle of Operation
HPGe = High Purity Germanium. Very sensitive semiconductor
Gammas are characteristic
Gamma energy proportional to PIN diode current

## Slide 9
HPGe Detector - Principle of Operation
HPGe = High Purity Germanium. Very sensitive semiconductor
Gammas are characteristic
Gamma energy proportional to PIN diode current

## Slide 10
HPGe Detector - Principle of Operation
HPGe = High Purity Germanium. Very sensitive semiconductor
Gammas are characteristic
Gamma energy proportional to PIN diode current
Gamma Ray

## Slide 11
Efficiency and Calibration sources
Detector Energy Efficiency = # of detections/# of decays
Detectors can be selectively sensitive (only photopeaks)
Efficiency curve of given detector calibrated with source of known activity level
Use efficiency to tell actual # of decays that occurred

## Slide 12
Efficiency and Calibration sources
Detector Energy Efficiency = # of detections/# of decays
Detectors can be selectively sensitive (only photopeaks)
Efficiency curve of given detector calibrated with source of known activity level
Use efficiency to tell actual # of decays that occurred

## Slide 13
Efficiency and Calibration sources
Detector Energy Efficiency = # of detections/# of decays
Detectors can be selectively sensitive (only photopeaks)
Efficiency curve of given detector calibrated with source of known activity level
Use efficiency to tell actual # of decays that occurred
Uranium and Thorium "Sand"
U & Th "Sand" in Well Detector

## Slide 14
How to Upgrade?
1.) Obtain calibration data
2.) Simulate source
3.) Compare efficiency curves
4.) Adjust
5.) Repeat 2.)-4.)

## Slide 15
How to Upgrade?
1.) Obtain calibration data
2.) Simulate source in detector
3.) Compare efficiency curves
4.) Adjust
5.) Repeat 2.)-4.)

## Slide 16
How to Upgrade?
1.) Obtain calibration data
2.) Simulate source in detector
3.) Compare efficiency curves
4.) Adjust
5.) Repeat 2.)-4.)

## Slide 17
How to Upgrade?
1.) Obtain calibration data
2.) Simulate source in detector
3.) Compare efficiency curves
4.) Adjust
5.) Repeat 2.)-4.)

## Slide 18
How to Upgrade?
1.) Obtain calibration data
2.) Simulate source in detector
3.) Compare efficiency curves
4.) Adjust
5.) Repeat 2.)-4.)

## Slide 19
Results
1.) Obtain calibration data

## Slide 20
Results
2.) Simulate source

## Slide 21
Results
3.) Compare efficiency curves

## Slide 22
Results
4.) Adjust
Increase Bounding Box size?

## Slide 23
Results
2.) Simulate source (bigger BB)

## Slide 24
Results
3.) Compare efficiency curves
(bigger BB)

## Slide 25
Results
4.) Adjust
What if we named every Source_Solid the same thing?

## Slide 26
Results
2.) Simulate source
(bigger BB, GammasStartHere)

## Slide 27
Results
3.) Compare efficiency curves
(bigger BB, GammasStartHere)

## Slide 28
Results
4.) Include line of code in Submit_Batch.pl -
/gps/pos/confine - it was missing!

## Slide 29
Results
3.) Simulate source
(bigger BB, GammasStartHere, gps/confine/confine included)

## Slide 30
Results
3.) Compare efficiency curves
(bigger BB, GammasStartHere, gps/pos/confine makes a huge difference!)

## Slide 31
Results
4.) Adjust: Adjust BB size further? More events?

## Slide 32
Thank You!

## Slide 33
What is Radiation?
-Isotopes are atoms of the same element (same # of protons) but with a different # of neutrons.
-Often unstable due to an improper ratio of nucleons (protons and neutrons).
-Isotopes release discrete # of nucleons to reach transform into a more stable element, called nuclear decay.
-Isotope decays into an excited "daughter" nucleus, which de-excites by releasing a gamma ray (high energy E.M. wave)

## Slide 34
What is Radiation?
-Isotopes are atoms of the same element (same # of protons) but with a different # of neutrons.
-Often unstable due to an improper ratio of nucleons (protons and neutrons).
-Isotopes release discrete # of nucleons to reach transform into a more stable element, called nuclear decay.
-Isotope decays into an excited "daughter" nucleus, which de-excites by releasing a gamma ray (high energy E.M. wave)

## Slide 35
What is Radiation?
-Isotopes are atoms of the same element (same # of protons) but with a different # of neutrons.
-Often unstable due to an improper ratio of nucleons (protons and neutrons).
-Isotopes release discrete # of nucleons to reach transform into a more stable element, called nuclear decay.
-Isotope decays into an excited "daughter" nucleus, which de-excites by releasing a gamma ray (high energy E.M. wave)

## Slide 36
What is Radiation?
-Isotopes are atoms of the same element (same # of protons) but with a different # of neutrons.
-Often unstable due to an improper ratio of nucleons (protons and neutrons).
-Isotopes release discrete # of nucleons to reach transform into a more stable element, called nuclear decay.
-Isotope decays into an excited "daughter" nucleus, which de-excites by releasing a gamma ray (high energy E.M. wave)

## Slide 37
-Open-source simulation software that simulates particles behaviour in a material.
-Establishes a geometry and places a particles/particle source inside, then measures their interactions
-Used to simulate high energy particle experiments
What is GEANT4?

## Slide 38
-Open-source simulation software that simulates particles behaviour in a material.
-Establishes a geometry and places a particles/particle source inside, then measures their interactions.
-Used to simulate high energy particle experiments
What is GEANT4?
Real CMS Experiment Apparatus at CERN
GEANT4 Simulation of CMS Apparatus

## Slide 39
-Open-source simulation software that simulates particles behaviour in a material.
-Establishes a geometry and places a particles/particle source inside, then measures their interactions.
-Used to simulate high energy particle experiments.
What is GEANT4?
Real CMS Experiment Apparatus at CERN
GEANT4 Simulation of CMS Apparatus

## Slide 40
-GEANT4 simulations allow us to interpret data collected from experiments => Higgs-Boson discovered this way.
-At the LBL, we use GEANT4 to simulate the energy efficiencies of our detectors. -should be in script
Why/How Does the LBL Use GEANT4?