## Slide 1: Another Run Bites the Dust: Why SNO+ Runs Pass or Fail Run-Selection
SNO+
Berin Sancakdar
SNO+ Research Student - Supervisor: Dr. Erica Caden

## Slide 2: What is SNO+?

## Slide 3
PARTICLES
LIGHT
DATA
SNO+ experiment is a large liquid scintillator detector for studying neutrinos
SNO+
*PMTs are not to scale
Acrylic Vessel
Photomultiplier Tubes (PMTs)
1
It is a 12m diameter acrylic sphere, submerged in about 7,000 tonnes of ultra-pure water, surrounded by ~9,000 PMTs

## Slide 4: What is run selection?

## Slide 5
SNO+
What is a run?
Hit = Signal from PMT
2

## Slide 6
SNO+
What is a run?
Hit
Hit
Hit
Hit
Hit
Event
2

## Slide 7
SNO+
What is a run?
Hit
Hit
Hit
Hit
Hit
Event
Hit
Hit
Hit
Hit
Hit
Event
Hit
Hit
Hit
Hit
Hit
Event
Run ~ 1 hour long collection of events
2

## Slide 8
DATA
SNO+
PHYSICS!
Can we trust the data?
3

## Slide 9
SNO+
Normal
Breakdown
4

## Slide 10
DATA
SNO+
PHYSICS!
Run Selection
Is the detector detecting events at an expected rate?
Is data coming out in the correct order?
Are the data timestamps accurate?
Are enough PMTs on?
Run selection sorts runs into categories:
Gold
Silver
Bronze
Nickel
This allows for physics analyses that require different levels of data quality
5

## Slide 11: How does SNO+ detect events?

## Slide 12
SNO+ Deck
DCR
(Deck Clean Room)
Front-end-card (FEC)
SNO+
Control Room ->
SNO+
SNO+ Diagram
6
Rack
Crate
Rack
Rack
Rack

## Slide 13
PMT
FEC
PMTIC
Crate Trigger Card
Master Trigger Card / Analog
Detector
Crate
Timing Rack
Master Trigger Card / Digital
TUB
TUBii
CAEN
Global Trigger
SNO+ Trigger System
8

## Slide 14
PMT
FEC
PMTIC
Crate Trigger Card
Master Trigger Card / Analog
Detector
Crate
Timing Rack
Master Trigger Card / Digital
TUB
TUBii
CAEN
XL3
DAQ
Event Builder
Global Trigger
Save data!
Saving data!
Runs
SNO+ Trigger System
9

## Slide 15
PMT
FEC
PMTIC
Crate Trigger Card
Master Trigger Card / Analog
Detector
Crate
Timing Rack
Master Trigger Card / Digital
TUB
TUBii
CAEN
XL3
DAQ
Event Builder
Global Trigger
Run Selection
Runs
SNO+ Trigger System
10

## Slide 16: Run-Selection Statistics

## Slide 17
SNO+ Run-Selection Failure Rate
Looking at a collection of 21,232 runs in the “Nickel” list (from 2023-7 to 2026-2):
Only 4,367 runs failed
20.6% overall failure rate
11

## Slide 18
Top Contributors:
Minimum Run Duration: 19.6%
Missing GTIDs: 9.3%
Master Trigger Card / Digital - Queue Head: 6.8%
Crate High Voltage Status for PMTs: 6.5%
Channel Flags: 6.5%
Event Rate: 6.0%
SNO+ Run-Selection Criteria Failure Rates
Criteria that never failed:
clock_forward
crate_hv_dac_a
event_separation
run_header
mtc_settings
10Mhz_UT_comparison
tubii_state
tubii_state_unknown
written_out_of_sequence
ESUMH_OCCUPANCY
_FAILED
12
Distribution of Run Selection Criteria Among Failed Runs
Percentage of Failed Runs (%)
Run-Selection Criteria

## Slide 19: How do run selection failures behave over time?

## Slide 20
Daily Run-Selection Failure Rates
From 2023 - 7 to 2026 - 2
13
Date
Runs Failed per Day / Runs Collected per Day (%)
Percentage of Runs Failed (%)

## Slide 21
Crate 14 Supply A - Setpoint discrepancy
Crate 1 + 9 Supply A - Setpoint discrepancy + missing data
Crate 2 + 3 Supply A - Setpoint discrepancy
Crate 4 Supply A - Setpoint discrepancy
Crate 11 Supply A - Setpoint discrepancy
Daily Run-Selection Failure Rates: Database Errors
2023 - 10 / 2023 - 12 / 2024 - 2
Crate 4 Supply A - Setpoint discrepancy
Crate 14 and 15 Supply A - Setpoint discrepancy
14
Date
Runs Failed per Day / Runs Collected per Day (%)
Percentage of Runs Failed (%)

## Slide 22
Trigger Check Threshold
Trigger Check Threshold
Trigger Check Threshold
Daily Run-Selection Failure Rates: Detector Errors
2024 - 12
15
Date
Runs Failed per Day / Runs Collected per Day (%)
Percentage of Runs Failed (%)

## Slide 23
Only one run and it failed due to being too short, the rest are calibration runs
Planned Power Outage
Activity on Deck
Planned Detector Shutdown
Daily Run-Selection Failure Rates: Maintenance
2023 - 12 / 2024 - 10 / 2024 - 11 / 2025 - 12
16
Date
Runs Failed per Day / Runs Collected per Day (%)
Percentage of Runs Failed (%)

## Slide 24
Daily Failure Rates
From 2023 - 7 to 2026 - 2
17
Date
Runs Failed per Day / Runs Collected per Day (%)
Percentage of Runs Failed (%)

## Slide 25
Daily Failure Rates (With Known Issues Accounted For)
From 2023 - 7 to 2026 - 2
18
Date
Runs Failed per Day / Runs Collected per Day (%) (Known Issues Accounted For)
Percentage of Runs Failed (%)

## Slide 26
Seismic Event
Seismic Event
Daily Failure Rates (Peaks Removed): Seismic Events
2023 - 10 / 2023 - 12 / 2024 - 2
19
Percentage of Runs Failed (%)
Date
Runs Failed per Day / Runs Collected per Day (%) (Known Issues Accounted For)

## Slide 27: How do seismic events affect the detector?

## Slide 28
Replay of Seismic Event on 2025-05-24 (2.5 MwN)
20

## Slide 29
Regular Scintillator Event
Breakdown
How do seismic events affect the detector?
21

## Slide 30
Regular Scintillator Event
Looking at the TAC histogram we can see a narrow distribution and secondary peaks
How do seismic events affect the detector?
22

## Slide 31
Dry-End Breakdown
TAC histogram is flat and unphysical
Geometric distribution of light on the detector does not make sense
How do seismic events affect the detector?
23

## Slide 32
How do seismic events affect the detector?
Signals are concentrated in one rack
9
10
4
Rack 1
Rack 2
Rack 3
Rack 4
Rack 5
Rack 6
Rack 7
Rack 8
Rack 9
Rack 10
Rack 11
24

## Slide 33
Why do seismic events cause abnormal detector behavior?
Motion of electronics, cables, and structures can create electronics noise
Increased noise cause an increased rate of hits
Electronics have a lot of incoming data to process
Data readout may not be able to keep up
27

## Slide 34
Does run-selection flag abnormal behavior due to seismic activities?
Run selection has detected abnormal detector behavior in all 5 major seismic events (above 2.5 MwN / 5 out of 48 events).
28

## Slide 35
Magnitude | Run-Selection Criteria Failed
3.4 | Channel Flags, FEC FIFO Overflow, FEC Queue Head, Missing GTIDs, Minimum Run Duration
2.9 | Channel Flags, FEC FIFO Overflow, FEC Queue Head, Missing GTIDs
2.8 | FEC Queue Head
2.7 | Channel Flags, FEC FIFO Overflow, FEC Queue Head, Missing GTIDs
2.5 | Channel Flags, FEC FIFO Overflow, FEC Queue Head, Missing GTIDs, Minimum Run Duration
Can run-selection flag abnormal behavior due to seismic activities?
Only 8 runs out of 21,232 produce this four-criteria failure signature, 4 of them occur during seismic events.
29

## Slide 36
Conclusion:
SNO+ needs high-quality data to achieve its physics goals, run selection monitors this process
Potential simplification of future run selection criteria
~300 hours of data may be recoverable, which reduces overall failure rate to ~19%
Seismic events (>2.5 MwN) are flagged by run selection
Queue Head FEC, FEC FIFO Overflow, Channel Flags, Missing GTIDs, are the criteria most frequently associated with seismic activity related abnormal detector behaviour
30

## Slide 37
Thank You!
Special Thanks To:
Erica Caden
Matt Depatie
Mark Ward
Ryan Bayes
Christine Kraus
Aleksandra Bialek
Stefan Kaluzienski
Lorna Nolan
Sara Bergevin
Osanna Wong
Julia Gorovitz
Martin Courchesne
& the rest of the crew

## Slide 38: Backup Slides:

## Slide 39
Crate
Rack
Crate
Front-end-card (FEC)
SNO+ Trigger System
7

## Slide 40
PMT
FEC
PMTIC
Crate Trigger Card
Master Trigger Card / Analog
Detector
Crate
Timing Rack
Master Trigger Card / Digital
TUB
TUBii
CAEN
queue_head_FEC
fec_fifo_overflow
queue_head_MTC
triggerProcMissingGTID
bad_data
invalid_minibundle
event_rate
CLOCK_JUMP_1
invalid_caen_data_length
queue_head_CAEN
XL3
DAQ
Event Builder
dt
trigger_rates
crate_hv_status_a
SYNC16 / SYNC24
crate_hv_status_b
queue_head_TUBII
SNO+ Trigger System: Run-selection Criteria

## Slide 41
PMT
FEC
PMTIC
Crate Trigger Card
Master Trigger Card / Analog
Detector
Crate
Timing Rack
Master Trigger Card / Digital
TUB
TUBii
CAEN
Global Trigger
SNO+ Trigger System
8
Rack
Crate
Front-end-card (FEC)
Timing Rack

## Slide 42
Missing Data
Missing Data
Missing Data
Missing Data
Daily Run-Selection Failure Rates: Database Errors
2024 - 10 / 2026 - 1

## Slide 43
Daily Failure Rates (Peaks Removed): Electronics Errors
From 2023 - 7 to 2026 - 2
Wet-End Breakdown in 0/11/PC3, FEC going bad
Electronics work leads to bad data and orphan bursts
Wet-End Breakdown in 14/2/PC2
Event burst associated with crate 17

## Slide 44
Daily Failure Rates
From 2023 - 7 to 2026 - 2
The most common causes of run-selection failures:
Software / Database Errors: Supply A setpoint alarms, missing-data, runs added to the backlog
Planned Operations: Maintenance, power outages, activity on deck, replacing FECs
Detector / Electronics Errors: Wet-end breakdowns, bad FECs, orphans, event bursts, crate related electronics problems
External Causes: Seismic events

## Slide 45
DATA
SNO+
PHYSICS!
Can we trust the data?
SNO+ is looking for extremely rare events
It requires high data quality
The laboratory conditions and the detector state must be in good condition for taking data
5

## Slide 46
SNO+

## Slide 49
SNO+ Deck
DCR
(Deck Clean Room)
Rack
SNO+
Control Room ->
SNO+ Diagram
6
4k
3k
2k
1k
PMT Counts
TAC Counts

## Slide 50
SNO+ Deck
DCR
(Deck Clean Room)
Rack
SNO+
Control Room ->
SNO+ Diagram
6
4k
3k
2k
1k
PMT Counts
TAC Counts

## Slide 51
SNO+ Deck
DCR
(Deck Clean Room)
Rack
SNO+
Control Room ->
SNO+ Diagram
6
4k
3k
2k
1k
PMT Counts
TAC Counts

## Slide 52
SNO+ Deck
DCR
(Deck Clean Room)
Rack
SNO+
Control Room ->
SNO+ Diagram
6
4k
3k
2k
1k
PMT Counts
TAC Counts

## Slide 53
Regular Scintillator Event?
How do seismic events affect the detector?
25

## Slide 54
Flasher
Flashers occur when PMTs break down, resulting in a similar TAC histogram to scintillator events
First light is very highly concentrated around one PMT
Regular Scintillator Event?
How can we tell them apart?
26