## Slide 1
August 13, 2026
Osanna Wong
SNO+ Research Assistant ● Supervisor: Szymon Manecki
Letting 0νββ shine:​ How QA supports SNO+'s chemistry from backstage​

## Slide 2
What is SNO+?
Neutrino experiment located 2km underground
In a cleanroom to reduce background radiation
Are neutrinos their own antiparticle?
Search for neutrinoless double beta decay

## Slide 3: Double Beta Decay
Notes: Less time

## Slide 4: Double Beta Decay
Neutrinoless
^
Notes: Less time

## Slide 5
List of commonly considered candidates of 0νββ
Notes: Long 2vbb half life to not overwhelm 0vbb signal
Lack of absorption lines near ones by scintillator

## Slide 6
~9000 photomultiplier tubes 
Acrylic vessel
12m in diameter

## Slide 7
Notes: - analogy

## Slide 8: Scintillator: The Microphone

## Slide 9: The Scintillator Recipe
780 tonnes Linear Alkylbenzene (LAB):
liquid scintillator solvent; emits UV light
2g/L 2,5-diphenyloxazole (PPO): primary fluor; converts UV to blue light
2mg/L 1,4-Bis(2-methylstyryl)benzene (bis-MSB): wavelength shifter; prevents reabsorption
6mg/L Butylated Hydroxytoluene (BHT): antioxidant
Notes: Para-benzoquinone

## Slide 10: What does QA do?

## Slide 11: What does QA do?
Sampled from ports on tanks
Notes: Circle the ports 

## Slide 12: What does QA do?
Sampled from ports on tanks
Ran turbidity, density, and UV-Vis spectra measurements in chemistry lab
Tested for concentrations

## Slide 13: What does QA do?
UV-Vis Spectrum of scintillator sample from Product Tank

## Slide 14: Tellurium: The Performer

## Slide 15: Telluric Acid (TeA)
8 tonnes of TeA stored underground!
Notes: makeover

## Slide 16: TeA Plant
TeA + UPW 
Nitric Acid Recrystallization
Thermal Recrystallization
Filter
Filter

## Slide 20
Notes: Need to give performer outfit fit for the occasion

## Slide 21: TeDiol Plant
Flash Chamber
Condensate Tank
1,2-butanediol (BD)
Batch Tank:
153kg Purified TeA
153kg UPW
178kg Distilled BD
Product Tank
Notes: BD as an outfit for Te

## Slide 22: TeDiol Plant
Flash Chamber
Condensate Tank
Batch Tank:
153kg Purified TeA
153kg UPW
178kg Distilled BD
Product Tank

## Slide 23: TeDiol Plant
N,N-Dimethyldodecylamine (DDA): Stabilizing amine
Flash Chamber
Condensate Tank
Batch Tank:
153kg Purified TeA
153kg UPW
178kg Distilled BD
Product Tank

## Slide 24: BD Stability Tests
Does storing BD long-term under different conditions change its quality?
N2 vs O2; light exposed vs protected

## Slide 25: BD Stability Tests
Does storing BD long-term under different conditions change its quality?
N2 vs O2; light exposed vs protected

## Slide 26: Density Change in Batch Tank
Batch tank adds dissolved TeA to BD until 1:3 molar ratio
Wanted to investigate how density changes
Notes: THIS ONE!!!!!!

## Slide 27: Summary
Quality of scintillator is monitored by testing consistency of certain properties
Studies are still being ran to understand the TeDiol synthesis process
Purity of chemicals needs to be inspected, especially if they have been stored for long periods of time

## Slide 28: Next steps for QA
TeDiol test batch!
Creating updated standards
Stability tests for all chemicals

## Slide 29
Thank you!
Szymon Manecki
Lorna Nolan
SNO+ research group
Chemists & chem techs
SNOLAB students 

## Slide 30
Predicted summed energy spectrum of the two e-’s from 2νββ and 0νββ
(Neutrinoless) Double Beta Decay

## Slide 32
p-benzoquinone

## Slide 35
NMR Spectroscopy showing favoring of 2 BD attachments

## Slide 36
Mass Spectroscopy showing common arrangements of TeDiol

## Slide 37
TeDiol Synthesis in Surface Lab

## Slide 39: Introduction: Beta Decay

## Slide 40: Introduction: Beta Decay
Double
^

## Slide 41: Introduction: Beta Decay
Neutrinoless
Double
^
^