## Slide 1: Slow-Control Infrastructure for Noble Liquid Detector R&D
Howard Wen
August 12-13, 2026
CASST 2026

## Slide 2: Slow-Control Infrastructure for Noble Liquid Detector R&D
Howard Wen
August 12-13, 2026
CASST 2026

## Slide 3: Noble Liquid Detectors
Leading technology for direct dark matter searches
Notes: CASST 2026

## Slide 4: Noble Liquid Detectors
Leading technology for direct dark matter searches
?
Ncl
Notes: CASST 2026

## Slide 5: Noble Liquid Detectors
Leading technology for direct dark matter searches
?
Ncl*
?
Notes: CASST 2026

## Slide 6: Noble Liquid Detectors
Leading technology for direct dark matter searches
?
Ncl*
?
Notes: CASST 2026

## Slide 7: Examples
DarkSide-20k, from Nature journal
DUNE, from IPP website
EXO-200, from Moore Lab @ Yale

## Slide 8: Slow-Control Infrastructure for Noble Liquid Detector R&D
Howard Wen
August 12-13, 2026
CASST 2026

## Slide 9: We are always finding improvements for future detector designs
At Queen’s, it’s the Scintillation Characterization And Liquid Argon Research (SCALAR) program

## Slide 10: We are always finding improvements for future detector designs
At Queen’s, it’s the Scintillation Characterization And Liquid Argon Research (SCALAR) program
Characterizing new photosensors

## Slide 11: We are always finding improvements for future detector designs
Understanding behaviour of doped liquid argon
At Queen’s, it’s the Scintillation Characterization And Liquid Argon Research (SCALAR) program
Characterizing new photosensors
Doping liquid argon with xenon in ProtoDUNE Single-Phase: effects on scintillation light, from CERN

## Slide 12: We are always finding improvements for future detector designs
Understanding behaviour of doped liquid argon
At Queen’s, it’s the Scintillation Characterization And Liquid Argon Research (SCALAR) program
Characterizing new photosensors
Testing new detector designs
Doping liquid argon with xenon in ProtoDUNE Single-Phase: effects on scintillation light, from CERN

## Slide 13: Slow-Control Infrastructure for Noble Liquid Detector R&D
Howard Wen
August 12-13, 2026
CASST 2026

## Slide 14: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 15: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 16: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 20: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 21: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 22: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment

## Slide 23: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment
Liquid nitrogen
Gaseous argon
Liquid argon

## Slide 24: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment
Liquid nitrogen
Gaseous argon
Liquid argon

## Slide 25: Liquid argon is delicate – temperature band is very small!
*at standard atm. pressure
Solid argon
Gaseous argon
Liquid argon
-189.34°C
-185.85°C

## Slide 26: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment
Liquid nitrogen
Gaseous argon
Liquid argon

## Slide 27: How do we conduct R&D here at Queen’s?
Creating our own noble liquid detector environment
Liquid nitrogen
Gaseous argon
Liquid argon

## Slide 28: Duration and location

## Slide 29: SCALAR slow control
Monitoring, controlling, and maintaining the state of the cryostat
?
?
?

## Slide 30: SCALAR slow control
Monitoring, controlling, and maintaining the state of the cryostat
Temperature sensors
Pressure Transducer
Mass flow controller
LN2 pump
Dewar scale
RGA
Pump vacuum
MIDAS
?
?
?

## Slide 31: SCALAR slow control
Monitoring, controlling, and maintaining the state of the cryostat
Temperature sensors
Find documentation and learn how to use
Control via software
Characterization & calibration & validation
Test reliability
User interfacing
Inter-sensor logic
Pressure Transducer
Mass flow controller
LN2 pump
Dewar scale
RGA
Pump vacuum
MIDAS
?
?
?

## Slide 32: SCALAR slow control
Monitoring, controlling, and maintaining the state of the cryostat
Temperature sensors
Find documentation and learn how to use
Control via software
Characterization & calibration & validation
Test reliability
User interfacing
Inter-sensor logic
Pressure Transducer
Mass flow controller
LN2 pump
Dewar scale
RGA
Pump vacuum
MIDAS
?
?
?

## Slide 33: Integrating into software
Mass flow controller and 246C power supply

## Slide 34: Validation

## Slide 35: User interface and inter-sensor logic

## Slide 36: MIDAS basic system architecture (https://triumf.ca/)
Online Data Base (ODB)
Temperature frontend
Pressure frontend
Scale frontend
Etc…
Temperature sensors
Web user interface (status, plots)
(https://raven.phy.queensu.ca)
Data logger
Pressure transducer
Scale
Etc…
Host computer

## Slide 37: What has all of this cumulated into?
SCALAR MIDAS slow control history plots, https://triumf.ca/
(g)
(torr)
(%)
(°C)
(slpm)

## Slide 38: What has all of this cumulated into?
x5
-189.34°C
-185.85°C
(°C)

## Slide 39: What has all of this cumulated into?
(torr)

## Slide 40: What has all of this cumulated into?
(%)

## Slide 41: What has all of this cumulated into?
(g)

## Slide 42: What has all of this cumulated into?
(slpm)

## Slide 43: What has all of this cumulated into?

## Slide 44: What has all of this cumulated into?
Testing and conclusions:
  Successful run to fill with ~18.5 kg of LAr
  Run cryogenic tests on our photosensors (SiPM)
  Demonstrated reliable infrastructure and standard operating procedure for LAr fills
Notes: Busy slides

## Slide 45: Next steps
Add system to test purity of LAr periodically
How to dope argon
Add single and dual phase detectors into the cryostat

## Slide 46: Slow-Control Infrastructure for Noble Liquid Detector R&D
Howard Wen
August 12-13, 2026
CASST 2026

## Slide 47: Feedback
Cut generalities in the middle
Trim intro
Some later slides too busy with text
What did I specifically do, what’s next
More time explaining what things are
Either introduce and elaborate or don’t mention at all
MIDAS DAQ first, slow control secondary
  Slide on flow diagram/architecture
Intro too long
Scale elaboration
MIDAS history maybe?
Plot + device
Intro: Try to focus the introduction on specific aspects of LAr that are important. Mention Darkside-20K an SiPMs
Main body: focus more on highlighting what you have done for these projects. It was a good overview, but I think presentation are stronger when you can focus more on the work that you have done specifically.

## Slide 48: Michela
9-11: you do spend a lot of time on this
getter and radon trap are both part of the system. We regulate how much argon is flowing with the mass flow meter (measure) and controller (regulate), the getter removes the electronegative impurities (oxygen, nitrogen, CO2, H2O...) , and the radon trap (the U tube in the back) removes radon by adsorption on activated charcoal powder. And then this purged argon goes into the cryostat, where it gets heat transferred from the LN2 line
26 these times are with our current setup, just specify that
39 MIDAS is generally developed at TRIUMF. You named your software developed in MIDAS, as RAVEN, right? Cool name, keep it
40 you should spend way more time here. Teach your colleagues how to read these plots.
did you ever mention that SiPM are photosensors?