## Slide 1
Radon Shielding in the SuperCDMS Experiment
Presented by Jonathan Finer
Department of Physics, University of Toronto
Supervisors: Ziqing Hong (UofT), Matt Stukel (SNOLAB)
CASST
12 August 2026

## Slide 2
SuperCDMS Introduction
Cryogenic silicon and germanium detectors
HV and iZIP
Phonon and ionization sensors
NR vs ER

## Slide 3
Background on Backgrounds

## Slide 4
Neutrons:
  NR
  Blocked by hydrogenous materials
Gamma rays and X-rays:
  ER
  Blocked by high-Z materials
Alpha particles:
  Produce neutrons through (α, n)
Beta particles:
  Produce X-rays through bremsstrahlung
Background Interactions
Image Attribution: https://commons.wikimedia.org/wiki/File:Strahlenarten_en.png
4

## Slide 5
Radon Background Sources
Rn-222 in U-238 decay chain
~130 Bq/m^3 in SNOLAB
Pb-214 and Bi-214 gamma rays
Pb-210 plate-out
  X-rays
Po-210 (α, n) with C-13 in HDPE
Pb-206 NR
Overall event rate x6
Image Attribution: https://commons.wikimedia.org/wiki/File:Decay_chain(4n%2B2,_Uranium_series).PNG
5

## Slide 6
Radon Shield
6

## Slide 7
Overview
7

## Slide 8
Radon Barrier
8

## Slide 9
9
Overview

## Slide 10
Radon Purge System
01. Radon Purge Panel
02. Flow Controller
03. Check Valve Assembly
04. Radon Sensor
10

## Slide 11
Radon Purge Panel
Liquid nitrogen with negligible radon concentration (~50 μBq/m^3, goal is <1 Bq/m^3)
Constant flow
Dewars replaced periodically
11

## Slide 12
Flow Controller and Pressure Gauge
12
Flow Controller
Pressure Gauge
N2 from Dewar
Pressure Gauge
From Barrier
To Controller
Flow Controller
To Inner Shields

## Slide 13
Check Valve Assembly
Allows cavern air in during underpressure
Allows interstitial air out during overpressure
13

## Slide 14
Radon Concentration Sensor
Detects radon activity in air
Tracks average concentration
14

## Slide 15
Monitoring
Instruments send data to IPC
Webpage hosted at UofT displays data in tables, plots charts
Shifters stare at values
15

## Slide 16
Leak Testing
16

## Slide 17
Pre-installation
17

## Slide 18
Post-installation
18

## Slide 19
Post-sealing
19
Tared DP
Setpoint
Absolute Pressure
Flow Rate
17.76 PSI
0.00 PSI
0.00 SLPM
8 PSI

## Slide 20
Summary
Radon is problematic
  Produces neutrons, gamma rays, X-rays, Pb-206
To shield experiment:
  Seal detectors
  Flow pure nitrogen in
Operation:
  Monitor Rn concentration (and many other parameters)
  Refill liquid nitrogen
20

## Slide 21
Acknowledgements
Principal Investigators:
Professor Ziqing Hong, University of Toronto
Dr. Matt Stukel, SNOLAB
Professor Prisca Cushman, University of Minnesota
Postdoctoral Fellows:
Dr. Xuan Chen, University of Toronto
PhD Candidates:
Joseph Mammo, University of South Dakota
Manish Jha, University of South Dakota
Undergraduates:
Sam Jia, University of Toronto
21

## Slide 22
Thank
You
22

## Slide 23
References
The SuperCDMS Collaboration, SuperCDMS ELOG, 2026.
The SuperCDMS Collaboration, SuperCDMS SNOLAB Technical Design Report, 2018.
23