## Slide 1: Building a Peltier-Cooled Cloud Chamber for Physics Outreach
CASST, August 12, 2026
Cameron Flaman

## Slide 2: Project Goals
1
Cloud Chamber at FZU. Credit: Wikipedia.
Design Philosophy
Accessible
Plug-and-Play
Portable
Effective
TSI McGill Physics Outreach Graphic. Credit: Trottier Space Institute

## Slide 3: The Cloud Chamber
2
C.T.R Wilson Portrait. Credit: Physics Today.
Wilson’s 1911 Chamber (bottom). Credit: Cambridge Digital Library.
Wilson’s 1911 Photo (bottom). Credit: CERN Timeline.

## Slide 4: Supersaturated Environment
3

## Slide 5
Peltier cooling
4
Peltier cross-sectional diagram (top) and a photo of a Peltier module (bottom). Credit: Abdelhalim Tlemçani and Digikey respectively.

## Slide 6
Previous Student’s Build
5
Photo Credit: Michael Hétu.

## Slide 7: The Cooler Challenge
Tower coolers specifically designed for CPU’s
Solutions:
  Copper heat-spreader plate
  Oversized CPU baseplate
6
Cooler Baseplate (top), and Noctua cooler (bottom). Credit: TechPowerUp and Nocuta.

## Slide 8: The Four-Peltier Build
7
Four Peltier modules
One Peltier module
6.6 cm 6.6 cm
effective area
11 cm 11 cm
effective area
Minimum temp
-22
Minimum temp
<-30
3D-Printed
PLA Mount
Rubber Gasket
Copper Viewing Plate
Peltier Modules
Copper Heat-
Spreader Plate
CPU Cooler
Baseplate

## Slide 9
The Bowing Problem
Plate Bowing:
8
Mount Bowing:
(s)

## Slide 10
Problem Solving
Attempted Solutions
Over-designed mounts
Thicker top-plate
Lapping and flattening
Meticulous installations
Success?
-
9
0.05” -> 0.08”
Sisyphus and his boulder. Credit: Medium. Imagine Him Happy.

## Slide 11: The Solution(s)
Holes in top-plate and bracket
Upwards bend in top-plate
  Minimum Temperature of -32.8
10
a)
b)

## Slide 12
Particle Tracks Video
11

## Slide 13: High-Voltage Clearing Field
>1600V !
12
Without High Voltage
With High Voltage

## Slide 14
A Tour of the Chamber
13
Acrylic enclosure
Aluminum T-framing
Arduino + RTD +
LCD temperature
readout
LED pushbuttons
Acrylic box
H.V. wire
H.V. support
“stilts”
The Mount

## Slide 15
What’s Next?
13
WHAT’S NEXT?
14

## Slide 16: Conclusion
15
Motivation
Context
Theory
Testing
Finalized design
Next steps

## Slide 17
Thanks to
  Brandon Ruffalo
  Robert Turner
  Robert Idsinga
  Philippe Movafegh
  Pascal Bourseguin
  Thomas Brunner
  Frédéric Girard
  Fran Spidle
  Iskender Isikbay
  Michael Hétu