## Slide 1: Characterizing Noise in SuperCDMS HVeV Detectors
Hussein David & Rhea Zhu
1/17

## Slide 2: 01 Background
2/17

## Slide 3: SuperCDMS and HVeV
The energy deposition of light-DM is small, in the order of eV scale.
SuperCDMS employs Ge and Si crystals at SNOLAB to measure this.
HVeV detectors: 1 gram version that has reached sub-eV resolution.
10cm
1cm
3/17

## Slide 4
Particles scatter in crystal and deposit energy as recoil phonons and electron-hole pairs
Bias voltage drifts the electrons and holes to opposite faces of the detector
NTL effect: as one charge crosses , it gains of energy, adding of Luke phonons
Total phonon (heat) energy is then:
HV Detector Technology
bias
4/19

## Slide 5
HV Detector Technology
4/17
= Nucleus
= Particle

## Slide 6
HV Detector Technology
= Nucleus
= Particle
4/17

## Slide 7
HV Detector Technology
= Nucleus
= Particle
=
=
= Recoil phonons
4/17

## Slide 8
HV Detector Technology
= Nucleus
= Particle
=
=
= Recoil phonons
4/17

## Slide 9
HV Detector Technology
= Nucleus
= Particle
=
=
= Recoil phonons
= Luke phonons
4/17

## Slide 10
What is a Transition-Edge Sensor (TES)?
Rₛₕ
Rₚ
Lᵢ
TES
I
b
Resistance read out by SQUID
Sensitive
resistance measurement
Cryogenic sensor cooled to transition
Phonons in substrate absorbed into Al
Additional energy break Cooper pairs
Quasiparticles converted to heat in TES:
s
I
sh
I
5/17
Notes: Phonon – quasiparticle of quantized vibrational energy

## Slide 11
What is a Transition-Edge Sensor (TES)?
Resistance read out by SQUID
Sensitive
resistance measurement
Cryogenic sensor cooled to transition
Phonons in substrate absorbed into Al
Additional energy break Cooper pairs
Quasiparticles converted to heat in TES:
5/17
Notes: Phonon – quasiparticle of quantized vibrational energy

## Slide 12: 02 Overview of Noise Modelling Methods
6/17

## Slide 13: General Procedures
IV curve
sweep
Rₚ, Rₙ @ 40% transition
Superconducting
noise, PJN
Inductance, L
, LG, K
Interpreting Parameters
Use extracted parameters in the context of potential thermal models to calculate expected noise
Normal noise,
SQUID
DC, f , n
sq
sq
Complex
admittance
7/17

## Slide 14
Use extracted parameters in the context of potential thermal models to calculate expected noise
IV curve
sweep
Rₚ, Rₙ @ 40% transition
Superconducting
noise, PJN
Inductance, L
, LG, K
Interpreting Parameters
Normal noise,
SQUID
DC, f , n
sq
sq
Complex
admittance
Rₛₕ
Rₚ
Lᵢ
TES
I
b
s
I
sh
I
General Procedures
7/17

## Slide 15
IV curve
sweep
Rₚ, Rₙ @ 40% transition
Superconducting
noise, PJN
Inductance, L
, LG, K
Interpreting Parameters
Normal noise,
SQUID
DC, f , n
sq
sq
Complex
admittance
General Procedures
Use extracted parameters in the context of potential thermal models to calculate expected noise
7/17

## Slide 16: General Procedures
IV curve
sweep
Rₚ, Rₙ @ 40% transition
Superconducting
noise, PJN
Inductance, L
, LG, K
Interpreting Parameters
Normal noise,
SQUID
DC, f , n
sq
sq
Complex
admittance
Use extracted parameters in the context of potential thermal models to calculate expected noise
7/17

## Slide 17: General Procedures
IV curve
sweep
Rₚ, Rₙ @ 40% transition
Superconducting
noise, PJN
Inductance, L
, LG, K
Interpreting Parameters
Use extracted parameters in the context of potential thermal models for
our setup to calculate expected noise
Normal noise,
SQUID
DC, f , n
sq
sq
Complex
admittance
7/17
Notes: * Change to complex admittance

## Slide 18
Complex Admittance (dIdV)
Complex Admittance: Function of of ,
Method
(frequency dependent)
Apply square voltage, convert raw transition data by taking Fourier transform of raw current
8/17
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 19
Complex Admittance (dIdV)
9/17
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 20
Complex Admittance (dIdV)
9/17
Square wave
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 21
Complex Admittance (dIdV)
9/17
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 22
Complex Admittance (dIdV)
9/17
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 23
Complex Admittance (dIdV)
9/17
Notes: * step-bystep process of didv
Leave out dIdV, pick impedance/admittance

## Slide 24
Complex Admittance
10/17
Notes: units

## Slide 25
Complex Admittance
10/17
Notes: What does fall off region physically mean

## Slide 26: Sources of Noise
Thermal agitation of charge carriers in any resistor produce a fluctuating voltage.
Johnson noise
The SQUID readout adds its own floor, roughly white with a 1/f rise at low frequency.
SQUID noise
Because the TES is a thermometer, random heat exchanges across thermal links look like fake power signals.
Thermal fluctuation noise
11/17

## Slide 27
Thermal Block Models
One-block
Intermediate
Parallel
12/17
Notes: Add arrows here

## Slide 28
Thermal Block Models
Intermediate
Parallel
Copper Housing
12/17
One-block
copper housing
Notes: Power exponential

## Slide 29
One-block
Intermediate
Parallel
Thermal Block Models
Copper Housing
crystal
copper housing
12/17
Notes: Add labels here

## Slide 30
Thermal Block Models
One-block
Intermediate
Parallel
W/Al
crystal/copper
12/17
Copper Housing

## Slide 31: 03 Results
13/17

## Slide 32: Results – High Tc
Parallel
One-block
14/17

## Slide 33: Results – High Tc
Parallel
One-block
14/17

## Slide 34: Results – Mid Tc
One-block Outer
One-block Inner
15/17

## Slide 35: Results – Mid Tc
One-block Outer
One-block Inner
15/17

## Slide 36: Results – Low Tc
Intermediate
One-block
16/17
Notes: Talk about summary
Resolutions (0.5ev low tc)

## Slide 37: Conclusion
17/17
Project-Specific
Expected vs. actual noise different
Looking Forward: Detector optimization
High/mid Tc: TFN
Improvements
  Understanding low Tc noise model
  Discrepancies
Low Tc: SQUID

## Slide 38: Conclusion
Baseline resolution:
  High Tc = 86 meV
  Mid Tc = 130 meV
  Low Tc = 146 meV
In practice, the resolution is higher  phonon collection efficiency
High/Mid Tc noise floor dominated by TFN
Low Tc noise floor dominated by SQUID
16/19
How to improve/make better detectors

## Slide 39: Acknowledgements
Graduate Students:
Antoine Rehberg, UofT
Ry Pressman-Cyna, UofT
Weigeng Peng, UofT
Principal Investigators:
Prof. Ziqing Hong, UofT
Prof. Miriam Diamond, UofT
Postdoctoral Fellows:
Runze (Tom) Ren, UofT
Funding:
NSERC USRA

## Slide 40: References
Clarke, J., & Braginski, A. I. (2004). The SQUID handbook. Wiley-VCH.
Kurinsky, N., Cabrera, B., Partridge, R., Graham, P., & Gratta, G. (n.d.). The low-mass limit : dark matter
  detectors with eV-scale energy resolution. Stanford Digital Repository. https://purl.stanford.edu/xh271zf3698
Maasilta, I. J. (2012, October 2). Complex impedance, responsivity and noise of transition-edge sensors: Analytical
  solutions for two- and three-block thermal models. arXiv.org. https://arxiv.org/abs/1205.5693
Pyle, M. C. (2012). (thesis). Optimizing the design and analysis of cryogenic semiconductor dark matter detectors for
  maximum sensitivity.
Simon, R. W., Burns, M. J., Colclough, M. S., Zaharchuk, G., Cantor, R., & STAR Cryoelectronics, LLC. (2012).
  Mr. SQUID User’s Guide. STAR Cryoelectronics, LLC. https://starcryo.com/wp-content/themes/education-pro/manuals/MrSQm66.pdf
Wikipedia contributors. (2026, April 29). SQUID. Wikipedia. https://en.wikipedia.org/wiki/SQUID

## Slide 41: Thank you!
Questions?

## Slide 42: What is a SQUID?
(Superconducting QUantum Interference Device)
Josephson Junction (JJ): 2 superconductors + insulator
DC effect: supercurrent through Josephson junction
Flux quantization in superconductor
Flux-Locked Loop (FLL) to prevent SQUID jumps
read out
SQUIDs biased above : resistive current in junction
Magnetic flux change induces screening current
Iₛ

## Slide 43: FLLs and SQUID Jumps
The amplitude of the voltage is affected by bias current. We therefore bias the SQUIDs to maximize , and we use the flux-locked loop (FLL) to stay at that operating point of peak sensitivity. We also produce some background magnetic flux of magnitude
SQUID JUMPS