## Slide 1: Digital SPAD array for many things
Fabrice Retiere (TRIUMF)

## Slide 2: Single Photon Avalanche diode
https://www.canon.ca/en/Discover/Commercial-Imaging-Solutions/SPAD-Sensor-Long-Range-Night-Vision

## Slide 3: SPAD in astro-particle physics
Used/foreseen by several experiments
  4.5 m2 for nEXO in liquid Xenon
  30 m2 for DarkSide-20k for Dark matter search in liquid Argon
    ARGO may need up to 200 m2
  Considered for XLZD and DARWIN for dark matter search in liquid Xenon
Pros
  Ultra-low radioactivity (1/1000 compare to PMTs)
  High efficiency
    25% at 175nm (vs 35% for PMT)
    >50% at 420nm (vs 35% for PMT)
  Fast timing (small size)
  Few issues
    Low dark noise (when cold)
    Low after-pulse
    Emit light, which could prove problematic
Cons: cumbersome to readout

## Slide 4: MIEL
The MIEL Experiment
Cryogenically Cooled X-Y Stage with SiPM Mounted
IX-83 Microscope
Vacuum Chamber
SPAD
Cooled X-Y Stage
Vacuum Window
Dichroic Mirror
Emission Filter
Emitted Light
SiPM Surface
Objective
Spectroscopy
Imaging
A)
B)
Diffraction Grating
Spectrometer and Cryogenically Cooled Camera
(405 nm)
Laser
Copper Braided
Cold Fingers
Upper Cold Stage
X-Y Stage Motors
Microscope Objective
SiPM Position
DAQ
LASER
Sync
Microscope for the Injection and Emission of Light

## Slide 5: MIEL
FBK Reflected Light and Laser Spot
2D Emission Map
IX-83 Microscope
Vacuum Chamber
SPAD
Cooled X-Y Stage
Vacuum Window
Dichroic Mirror
Emission Filter
Emitted Light
SiPM Surface
Objective
Spectroscopy
Imaging
A)
B)
Diffraction
Grating
Spectrometer and Cryogenically Cooled Camera
(405 nm)
Laser
A)
Two basic modes
B)

## Slide 6: Cross-talk. Light production and transport
FBK VUV-HD3 emitted photon within NA<0.45
Cross-talk is the dominant correlated nuisance
We estimate that every avalanche emits 1-3 photons back in the liquid
Fortunately the detection efficiency is low in IR (<10%)

## Slide 7: DarkSide-20k photon detection
Taken from Rafał Wojaczyński (Astrocent)

## Slide 8: Moving away from DS analog scheme?
~0.1nF/mm2
Analog to Digital
Conversion
Comparator (more power)
Waveform digitizer
Amplifier
Need power
to buffer
capacitance
Photon search engine
In software or firmware
Photon time stamp
Timing performance
Limited by size
Large pulse very messy
AQ
Active
Quench
Digital processing
Photon time stamp
Photon
Photon
Tag for every photon
Or some simpler aggregate
Bias
Bias

## Slide 9: A simpler solution: Photon to Digital Converter

## Slide 10: TDC integrated in each Single Photon Avalanche Diode (SPAD)

## Slide 11: 3D integration and FSI vs BSI configuration

## Slide 12: BSI for other things than photon detection
CMOS
CMOS
p+
p
n+
n
SiO2
Poly
CMOS
p-epi
CMOS
Front side avalanche diode
Back side avalanche diode
Extended
80um
5-20um
5-50um
Ultra-thick
100-500 um
Geiger mode avalanche
VUV – Blue photon
Charged particle
Un-depleted
p-epi
depleted
Electron trajectories
Linear avalanche
Neutron or dark matter
Hole trajectories
Even dark matter search

## Slide 13: Beyond physics - Is it possible to prevent / control major fire with a sensor network?
It is certainly not obvious
But there may not be any other alternative
  Other solutions are not full-proof
  We have to keep an open eye
  Investigate all modalities
  Work with commercial parties
  And push the technology
SPAA + SENSENET

## Slide 14: Single photon air analyser – open path
Fire laser in open air
  Backscattered light – smoke
    LIDAR for distance
  Fluorescence
    “LIDAR” for distance
  Attenuation
    For conventional attenuation SPAD not so good because high flux required
    Quantum scheme with entangled photons may reduce photon flux requirement

## Slide 15: SPAA – enclosed sensor
Replace photo-diode by array of digital SPADs
  Measure scattering angle distribution – particulate size
  Measure fluorescence with filters
  Enhanced sensitivity requiring lower power
SPAD promise high performance and low power
  Cost should be competitive in large quantity
Existing Piera system
SPAA proposal

## Slide 16: 2nd generation based on analog SiPM
(Early data)
Notes: Now, what we all want to know
does it work?​
Not to spoil things, but the short answer is, we don’t know yet.
We are still getting our experimental setup ready.
So here I have a picture of our setup,
and you can see we have a laser,
Some beam conditioning and a baffle just to make sure that the only light our sensor see is light that scattered from particulate
And of course our mirror and sensors.
We also have an FPGA, so for those who don’t know, that’s a Field-Programmable Gate Array.
It’s like a small computer, or a really low-level Arduino
So, one of the advantages is that it’s very fast,
and we use it to process the sensor signal and send nice-looking data to our computer
Alright, now the data!

## Slide 17: On-of smoke measurements
(Reference sensor saw no helium)
Inject smoke
Turn Helium gas line on
Helium injection

## Slide 18: Summary and outlook – A bright future for digital SPADs
Environment monitoring (forest fire, health care, water purity,…)
  SPAD make sense when the detected photon flux is low: scattering, fluorescence, … entangled photon attenuation?
  Low cost / low power photon counting – SPAD addressing, MHz counting
  Possible LIDAR-like for open path monitoring – ns-scale timing resolution
Radiation monitoring
  High rate neutron counting for Fusion ”reactors”
Physics research
  Dark matter search and neutrino properties require scalable large area
  Quantum entanglement studies with near unity efficiency. Need carefully tuned BSI with very effective AR coating for specific wavelength (green)
  Collider – Now participating to CERN DRD4

## Slide 19: Supporting General Fusion
Neutrons
Fusion zone
General Fusion is a company headquarter in Richmond BC (suburb of Vancouver)
Expected to produce 1GHz of neutrons (in pipe) during 10us
Extremely high rate that is very hard to deal with with analog SiPM

## Slide 20: The end
https://indico.cern.ch/event/1404192/

## Slide 21: Dark noise
300K
Have we reached the minimum possible?
  It may depend on temperature
Field enhanced can dominate
  Trade-off between probability of triggering avalanche and dark noise
Sherbrooke 2D SPAD
Sherbrooke 2D SPAD

## Slide 22: Single Photon Timing Resolution
The electronics matters a lot
Does 3D integration provide best results
  May be for the same power dissipation
What about the SPAD avalanche evolution time?
  Is it worth studying?
What about tails?
  Probe region of low field?
  Mask such regions?
In BSI the electron transit time may matter